{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["全屋电器"],"not_rendered":{"images":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"全屋电器","index":0,"n_rows":6,"n_cols":6,"rows_kept":6,"flags":["formulas_cached_only"]}
["序号","品类","参考图片","单位","数量","参数"]
[1,"空调",null,"台",19,"2匹壁挂空调，一级能效"]
[2,"热水器",null,"台",5,"额定容量：≥80L；\n加热功率：≥3200W；\n壁挂式搪瓷内胆"]
[3,"洗衣机",null,"台",2,"滚筒洗甩一体机，容量：≥10KG"]
[4,"换气扇",null,"台",18,"功率：≥40W；\n风量≥720m³/h；\n转速：≥1260r/min；\n开孔：≤300*300mm\n带自动闭合扇叶"]
[5,"新风",null,"台",18,"功率：≥12W；\n适用面积：≥20㎡；\n静音"]